REX- DIN Rail Meter

Specifications:

- True RMS measurements current, voltage

- Power factor

- Active Power

- Apparent Power

- Reactive Power

- Frequency

- Unbalance (voltage and current)

- Phase angle

- Current (Average, Phases and neutral (calc))

- Voltage (Average, Ph-Ph, Ph-N)

- RS485 Communication

- Active Energy(WH),Reactive Energy(VARH), Power energy(VAH)

- Rn Hr and Load Hr

- Interrupts

- Old ( Active Energy,Reactive Energy, Power energy,Rn Hr ,Load Hr,Interrupts )

Model Specifications:

| Measurements | Parameters | REX-1100 | REX-1200 | REX-1300 | REX-1400 | REX-1500 | REX-1900 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage | VLL,VLN |  |  |  |  |  |  |
| Current | IR,IY,IB |  |  |  |  |  |  |
| Frequency | HZ |  |  |  |  |  |  |
| Average | I |  |  |  |  |  |  |
| Neutral Current | IN |  |  |  |  |  |  |
| Unbalance | %1 %V |  |  |  |  |  |  |
| Phase Angle | PA |  |  |  |  |  |  |
| Apparent Power | VA,VA1,VA2,VA3 |  |  |  |  |  |  |
| Active Power | W,W1,W2, W3 |  |  |  |  |  |  |
| Power Factor | PF |  |  |  |  |  |  |
| Reactive Power | VAR,VAR1, VAR2,VAR3 |  |  |  |  |  |  |
| Active Energy | Wh |  |  |  |  |  |  |
| Reactive Energy | + Varh |  |  |  |  |  |  |
| Power Energy | Vah |  |  |  |  |  |  |
| Run Hour | RnHr |  |  |  |  |  |  |
| Load Hour | LdHr |  |  |  |  |  |  |
| Interrupts | Nos. |  |  |  |  |  |  |
| OLD |  |  |  |  |  |  |  |
| Active Energy | Wh |  |  |  |  |  |  |
| Reactive Energy | + Varh |  |  |  |  |  |  |
| Power Energy | Vah |  |  |  |  |  |  |
| Run Hour | RnHr |  |  |  |  |  |  |
| Load Hour | LdHr |  |  |  |  |  |  |
| Interrupts | Nos. |  |  |  |  |  |  |

| Measurements | Parameters | REX-2140 | REX-2330 | REX-2440 | REX-2411 | REX-2550 | REX-2551 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage | VLL,VLN |  |  |  |  |  |  |
| Current | IR,IY,IB |  |  |  |  |  |  |
| Frequency | HZ |  |  |  |  |  |  |
| Average | I |  |  |  |  |  |  |
| Neutral Current | IN |  |  |  |  |  |  |
| Unbalance | %1 %V |  |  |  |  |  |  |
| Phase Angle | PA |  |  |  |  |  |  |
| Apparent Power | VA,VA1,VA2,VA3 |  |  |  |  |  |  |
| Active Power | W,W1,W2, W3 |  |  |  |  |  |  |
| Power Factor | PF |  |  |  |  |  |  |
| Reactive Power | VAR,VAR1, VAR2,VAR3 |  |  |  |  |  |  |
| Active Energy | Wh |  |  |  |  |  |  |
| Reactive Energy | + Varh |  |  |  |  |  |  |
| Power Energy | Vah |  |  |  |  |  |  |
| Run Hour | RnHr |  |  |  |  |  |  |
| Load Hour | LdHr |  |  |  |  |  |  |
| Interrupts | Nos. |  |  |  |  |  |  |
| OLD |  |  |  |  |  |  |  |
| Active Energy | Wh |  |  |  |  |  |  |
| Reactive Energy | + Varh |  |  |  |  |  |  |
| Power Energy | Vah |  |  |  |  |  |  |
| Run Hour | RnHr |  |  |  |  |  |  |
| Load Hour | LdHr |  |  |  |  |  |  |
| Interrupts | Nos. |  |  |  |  |  |  |

Edit Parameters

| Parameter | Description | Min Value | Max Value | Default Value |
| --- | --- | --- | --- | --- |
| PTPR | PT Primary | 50 | 999 | 415 |
| DEC | PT Decimal | 415 | 4.15 | 415 |
| UNIT | PT Unit | 415 | K 415 | 415 |
| PTSR | PT Secondary | 50 | 999 | 415 |
| CTPR | CT Primary | 1 | 999 | 5 |
| DEC | CT Decimal | 415 | 4.15 | 415 |
| UNIT | CT Unit | 415 | K 415 | 415 |
| SYS | Sytem configuration | 3P4W,1P,3P3W |  | 3P4W |
| KVA | KVA Type | 3D, ARTH |  | 3D |
| STRT | Starting Current | 1 | 200 | 5 |
| DEV | Device ID | 1 | 247 | 1 |
| BAUD | Baud Rate | 1200, 2400, 4800, 9600,19200 |  | 9600 |
| PARI | Parity | NONE, EVEN, ODD |  | NONE |
| STOP | Stop Bit | 1, 2 |  | 2 |
| ENDI | Endian Type | LIT, BIG |  | BIG |